## Sheet1
Revision 0 |  | THERMOMETER CALIBRATION RECORD*
1905-07-11 |  | FREQUENCY: 12 MONTHS
Master thermometer: Certifiied or NIST Traceable Thermometer |  |  |  | Serial #: |  | Expiration date:
Date | Location of reference Thermometer | Serial # of Thermometer | Master Certified or Traceable Temp Reading (°C) | Master Certified Thermometer Correction Factor (°C) | Master Certified Thermometer Corrected Reading (°C) | Lab Reference Thermometer Reading (°C) | Correction Factor (°C)** | Initials
example 5/10/18 | BOD incubator | 15708 | 20 | N/A no CF on Master | N/A no CF on Master | 20.1 | N/A if < 0.5 | BAM
*Use this form when the reference NIST thermometer is liquid filled.
** Label each thermometer with the date of the calibration, initials of the analyst and correction factor (CF). The correction factor
is to be applied to the lab thermometer reading when recording daily temperatures in the laboratory logbook. If the CF is <0.5 no CF is applied.